## Slide 1: Laser Device – EMM5
Process description
Jeroen Koldenhof (Javra) / Peter Bastiaansen (EMS)

## Slide 2: Measurement Process on one slitted coil
Measure width manually Begin-meting
Get Measurements Eind-meting WS
Get Measurements Begin-meting DS
Get Measurements Eind-meting DS
Get Measurements Begin-meting WS
4 times same process will be handled.
With laser

## Slide 3: Get Measurement Begin-meting WS
STEP 1) Activity Operator:
  Measure width manually and enter manually in EMM5
  STEP 2) Activity Operator (Laser):
  Start get thickness (laser software)
  Stop/accept get thickness (laser software). (Inside laser navigator screen which field is thackness because getmeasurement() method fetch the data from the navigator screen field.)
  Start get batch info (laser software)
  Stop/accept get batch info:
    Output 1,
    Output 2,
    Output 3,
    Output 4,
Manually width enter manually in EMM5
Laser Get batch measurements
EMM5 Get Measurements
Laser Get Thickness
STEP 3) automatically EMM5:
  Get measurements Begin-meting WS:
    Thickness
    Batch information for
      Burr
      Camber
      Waveheight
      Wave-factor* ( Wave-factor is the thing which balance the risk and aware the coming error so that wave-facetor is not measuring thnig it just a calculation )
      * Wave factor must be placed in a/acotbmeas.p - in stead of WaveLen
STEP 4) Validation EMM5 values:
  Test Values are oke
    Same as it is now
  Test Values are not oke
    Same as it is now

## Slide 4: Get Measurement EMM5
Following data will be measured in EMM, after pushing each button:
  Thickness (get measurement)
  Batch info (get batch measurement)
Laser Get Thickness
EMM5 Get Measurement
EMM5 Get Measurements
Laser Get batch measurements
Following buttons needed in EMM5:
  Get Measurement thickness Begin-meting WS
  Get Measurement Begin-meting WS
  Get Measurement thickness Begin-meting DS
  Get Measurement Begin-meting DS
  Get Measurement thickness Eind-meting WS
  Get Measurement Eind-meting WS
  Get Measurement thickness Eind-meting DS
  Get Measurement Eind-meting DS

## Slide 5: Get Measurement detailed EMM5
Laser Get Thickness
Laser Get batch measurements
EMM5 Get Measurements
Step 1: Thickness will be measured as one measurement. EMM5 will get this by ‘get measurement’ and put this in the right field in EMM5 (thickness WS/DS/Begin/Eind)
Step 2: The batchfile is get by EMM5, as per the example delivered during test on 17 November. The following information is stored in this batch:
  Output 1: Height of material not relevant for storage
  Output 2: Waviness
  Output 3: Burr
  Output 4: Camber
  Where is the wave-length, needed to calculate wave-factor? ( for this we should maintain another field in the laser navigator so that we can get this value from batch file or is there any way to get value of wave-length because we cannot sketch the wavelenth graph of all records each time.)

## Slide 6: Data to store in EMM5
Laser Get Thickness
Laser Get batch measurements
EMM5 Get Measurements
Step 1: Thickness will be kept 1 on 1
Step 2:
  Output 1: Height of material not relevant for storage
  Output 2: Waviness,
    height must be < 3 mm
    Factor must be below 1,5% [wave height in mm / wave length in mm) * 100%]
  Output 3: Burr,
    90-% > max 0,010 mm ( Okay we can do that while doing valiedation of the data)
    10% -> max 0,020 mm ( Okay we can do that while doing valiedation of the data)
  Output 4: Camber
    Width < 250 mm -> must be < 0,5 mm
    Width > 250 mm -> must be < 0,2 mm

## Slide 7
Flow
chart

## Slide 8: Open Questions
Operator is doing the test with the Laser and is starting the measurement in EMM5; What is he doing with the outcome of the test result values…. Please save test results in seperate file if possible.
Which values need to be saved in EMM5, I got from the laser:
  Thickness (once) save
  Height (batch) -> highest number? Yes and save
  Waviness (batch) -> highest number? Yes and save
  Burr (batch) -> highest number? Yes and save
  Camber (batch) -> highest number? Yes and save
Do we need to get the WAVELENGTH also? If so, please let me know how I can get this information out of the batch file
Do we need to store the WAVEFACTOR also? Yes, see slide 3 → step 3
Based on the Camber formule I need also the width of the sample. How do I get this? Will the operator fill this manually? In EMM5? Width is not needed for any calculation.
In one of the earlier mails I see something about thickness variation? Is this the variation between WS, DS, Start and End, or? Forget discussion regarding thickness variation, this is something EMS internal (based on results in measured thickness which are saved in EMM5).